## Sheet1
Company Code | Company Code Description | Plant | Plant Description | Storage Location | Storage Location Description | Material Type | Material Type Description | Material | Material Description | Material Group | Base Unit of Measure | Valuation Type | Unrestricted Use Stock | Quality Inspection Stock | Blocked Stock | In Transit Stock | Valuation Class | Valuation Description | Harga Satuan | Total Harga | Currency
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000001030074 | TRF DIS;D3;20kV/400V;3P;100kVA;YZN5;OD | ZM0103 | U | NORMAL | 5 | 0 | 0 | 0 | 1000 | HAR-Transformator | 52059843 | 260299217 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000001030075 | TRF DIS;D3;20kV/400V;3P;160kVA;YZN5;OD | ZM0103 | U | NORMAL | 6 | 0 | 0 | 0 | 1000 | HAR-Transformator | 77295627 | 463773762 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000001030077 | TRF DIS;D3;20kV/400V;3P;250kVA;DYN5;OD | ZM0103 | U | NORMAL | 7 | 0 | 0 | 0 | 1000 | HAR-Transformator | 91791439 | 642540072 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000001030097 | TRF DIS;D3;20kV/400V;3P;50kVA;YZN5;OD | ZM0103 | U | NORMAL | 1 | 0 | 0 | 0 | 1000 | HAR-Transformator | 39209640 | 39209640 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000001030114 | TRF DIS;D3;20kV/400V;3P;400kVA;DYN5;OD | ZM0103 | U | NORMAL | 1 | 0 | 0 | 0 | 1000 | HAR-Transformator | 114060070 | 114060070 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000001030194 | TRF DIS;D3;20KV/400V;3P;400KVA;DYN5;ID | ZM0103 | U | NORMAL | 2 | 0 | 0 | 0 | 1000 | HAR-Transformator | 131676676 | 263353352 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000001060068 | TRF ACC;SERANDANG TRAFO 3P;1 TIANG | ZM0106 | SET | NORMAL | 28 | 0 | 0 | 0 | 1000 | HAR-Transformator | 4995000 | 139860000 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002020038 | CB ACC;POLE MOUNTED CB | ZM0202 | BH | NORMAL | 1 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 290149527 | 290149527 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050106 | CT;380/220V;RING;250/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 229 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 245003 | 56105782 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050107 | CT;380/220V;RING;250/5A;1;5VA;P | ZM0205 | BH | BURSA | 141 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 207900 | 29313900 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050110 | CT;380/220V;RING;300/5A;1;5VA;P | ZM0205 | BH | BURSA | 50 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 224400 | 11220000 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050112 | CT;380/220V;RING;400/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 10 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 747179 | 7471788 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050124 | CT;380/220V;RING;75/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 30 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 943690 | 28310700 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050128 | CT;380/220V;SQUARE;100/5A;0.5;5VA;P | ZM0205 | BH | NORMAL | 63 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 430638 | 27130169 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050133 | CT;380/220V;SQUARE;150/5A;0.5;5VA;P | ZM0205 | BH | NORMAL | 3 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 569800 | 1709400 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050139 | CT;380/220V;SQUARE;250/5A;0.5;5VA;P | ZM0205 | BH | NORMAL | 12 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 264229 | 3170742 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050139 | CT;380/220V;SQUARE;250/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 377 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 264228 | 99614131 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050142 | CT;380/220V;SQUARE;300/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 9 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 420199 | 3781792 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050146 | CT;380/220V;SQUARE;400/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 8 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 237050 | 1896400 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050155 | CT;380/220V;SQUARE;600/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 27 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 256520 | 6926040 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050158 | CT;380/220V;SQUARE;75/5A;0.5;5VA;P | ZM0205 | BH | BURSA | 9 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 943690 | 8493210 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050523 | CT;380/220V;RING;400/5A;0.5;15VA;ID | ZM0205 | BH | BURSA | 3 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 224400 | 673200 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002050933 | CT;20kV;K;50/5-5A;0.2S;15-10VA;ID | ZM0205 | BH | NORMAL | 9 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 5132129 | 46189164 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002053015 | CT;20kV;K;100/5-5A;0.2S;15-10VA;ID | ZM0205 | BH | NORMAL | 12 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 5043485 | 60521818 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002090032 | LA;20-24kV;K;10kA;POLYMER;; | ZM0209 | BH | NORMAL | 82 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 720490 | 59080171 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002150146 | CUB;N ISO;METERING;24kV;630A;16kA; | ZM0215 | SET | NORMAL | 7 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 80966619 | 566766333 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002150150 | CUB;N ISO;CBOG;24kV;630A;16kA; | ZM0215 | SET | NORMAL | 5 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 208942293 | 1044711465 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002150173 | CUB;N ISO;LBS MOTORIZE;24KV;630A;16KA | ZM0215 | SET | NORMAL | 10 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 59543619 | 595436190 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002160046 | CUB ACC;HEATER | ZM0216 | BH | NORMAL | 50 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 527250 | 26362500 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002190218 | MTR;kWH E;;3P;230/400V;5-80A;1;;4W | ZM0219 | BH | NORMAL | 25 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 2013616 | 50340404 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002190224 | MTR;kWH E-PR;;1P;230V;5-60A;1;;2W | ZM0219 | BH | NORMAL | 726 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 336863 | 244562393 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002190252 | MTR;kWH E-PR;;3P;230/400V;5-80A;1;;4W | ZM0219 | BH | NORMAL | 2 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1653900 | 3307800 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002190438 | MTR;kWHE;;3P;57.7/100V-230/400;5A;0.5;4W | ZM0219 | BH | NORMAL | 4 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 2074392 | 8297569 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002190502 | MTR;kWH E;;1P;230V;5-60A;1;;2W | ZM0219 | BH | NORMAL | 440 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 337973 | 148708032 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002190841 | MTR;KWHEXIM;;1P;230/400V;5-60A;1;;2W | ZM0219 | BH | NORMAL | 19 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1597396 | 30350529 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002200016 | MTR ACC;SEGEL PUTAR PLASTIC | ZM0220 | BH | NORMAL | 34030 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 2008 | 68338070 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000002230042 | CLAMP;PG;CU;50mm2;BOLT | ZM0223 | BH | NORMAL | 148 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 47665 | 7054348 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003030041 | POLE;STEEL;220V;CIRCL;9m;200daN;; | ZM0303 | BTG | NORMAL | 7 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 4491801 | 31442610 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003030101 | POLE;STEEL;20kV;CIRCL;12m;200daN; | ZM0303 | BTG | NORMAL | 5 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 6097277 | 30486383 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003030113 | POLE;STEEL;20kV;CIRCL;12m;350daN; | ZM0303 | BTG | NORMAL | 5 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 9072038 | 45360189 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040031 | POLE ACC;CR ARM UNP80X50X6X3000mm GALV | ZM0304 | BH | NORMAL | 26 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 530973 | 13805296 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040299 | POLE ACC;PREFORMED GRIP T22mm2 | ZM0304 | BH | BURSA | 665 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 24200 | 16093069 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040314 | POLE ACC;THIMBLE 55mm2 | ZM0304 | BH | NORMAL | 191 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 12210 | 2332110 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040320 | POLE ACC;TURN BUCKLE 3/4" | ZM0304 | BH | NORMAL | 81 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 55500 | 4495500 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040331 | POLE ACC;STEEL WIRE GALV 35mm2 | ZM0304 | M | NORMAL | 1681 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 14430 | 24256830 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040345 | POLE ACC;EXPANDING ANCHOR 3/4" | ZM0304 | BH | NORMAL | 66 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 211909 | 13986001 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040358 | POLE ACC;TRAVERS;TMP-O;U100X1800 | ZM0304 | SET | NORMAL | 29 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 666000 | 19314000 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040381 | POLE ACC;TRAVERS;TMP-DBL-O;U100X1800 | ZM0304 | SET | NORMAL | 117 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 1332000 | 155844000 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040399 | POLE ACC;TRAVERS;AFSPAN-O;U100X2000 | ZM0304 | SET | NORMAL | 82 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 2081250 | 170662500 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040400 | POLE ACC;TRAVERS;AFSPAN-O;U100X2500 | ZM0304 | SET | NORMAL | 73 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 2228880 | 162708240 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003040410 | POLE ACC;SACHLE ANCHOR 3/4" | ZM0304 | BH | NORMAL | 176 | 0 | 0 | 0 | 1004 | HAR-Menara&Tiang | 22533 | 3965808 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003050084 | CONDUCTOR;AAAC-S;150mm2; | ZM0305 | M | NORMAL | 9716 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 31314 | 304248864 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003050088 | CONDUCTOR;AAAC-S;70mm2; | ZM0305 | M | NORMAL | 5249 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 17965 | 94296315 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060044 | COND ACC;DOUBLE TIE | ZM0306 | BH | BURSA | 10071 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 7097 | 71473887 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060045 | COND ACC;SIDE TIE | ZM0306 | BH | BURSA | 3184 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 2413 | 7683042 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060128 | COND ACC;NON TENSION JOINT AL 35mm2 | ZM0306 | BH | NORMAL | 96 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 25011 | 2401010 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060145 | COND ACC;JOINT SLEEVE AL 150mm2 | ZM0306 | BH | NORMAL | 432 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 96867 | 41846613 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060146 | COND ACC;JOINT SLEEVE AL 240mm2 | ZM0306 | BH | NORMAL | 102 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 78120 | 7968238 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060167 | COND ACC;PREFORMED TIE 150mm2 | ZM0306 | BH | BURSA | 17539 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 3346 | 58686734 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060284 | COND ACC;JOINT ALCU 70mm2 | ZM0306 | BH | NORMAL | 1329 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 70560 | 93774684 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060295 | COND ACC;SIDE TIE 240mm2 | ZM0306 | BH | NORMAL | 490 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 96348 | 47210520 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060300 | COND ACC;DOUBLE SIDE TIE 240mm2 | ZM0306 | BH | NORMAL | 39 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 199800 | 7792200 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060504 | COND ACC;SIDE TIE 150mm2 | ZM0306 | BH | NORMAL | 489 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 69024 | 33752956 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003060677 | COND ACC;TOP TIES 150MM2 | ZM0306 | BH | NORMAL | 1518 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 90931 | 138033929 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003061771 | COND ACC;TAP CONN 10-16mm2;TYPE G;HS | ZM0306 | SET | NORMAL | 9465 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 12997 | 123020060 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003070152 | ISOLATOR;LINEPOST;POLYMER;24KV;;12.5kN | ZM0307 | BH | NORMAL | 26 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 244122 | 6347180 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110010 | CABLE PWR;N2XSY;1X35mm2;20kV;UG | ZM0311 | M | NORMAL | 149 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 135333 | 20164553 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110015 | CABLE PWR;NA2XSEYBY;3X240mm2;20kV;UG | ZM0311 | M | NORMAL | 250 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 583107 | 145776855 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110025 | CABLE PWR;NFA2X;2X10mm2;0.6/1kV;OH | ZM0311 | M | NORMAL | 24000 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 5042 | 120999812 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110029 | CABLE PWR;NFA2X;4X16mm2;0.6/1kV;OH | ZM0311 | M | NORMAL | 1772 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 15158 | 26859632 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110039 | CABLE PWR;NFA2X-T;3X35+1X35;0.6/1kV;OH | ZM0311 | M | NORMAL | 2632 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 36858 | 97009366 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110515 | CABLE PWR;NYY;1X95mm2;0.6/1kV;Opstig | ZM0311 | M | NORMAL | 156 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 189698 | 29592934 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110516 | CABLE PWR;NYY;1X150mm2;0.6/1kV;Opstig | ZM0311 | M | NORMAL | 52 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 290164 | 15088542 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003110542 | CABLE PWR;NFA2X-T;3X70+1X70;0.6/1kV;OH | ZM0311 | M | NORMAL | 6000 | 0 | 0 | 0 | 1002 | HAR-Kabel | 63770 | 382617000 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120006 | CABLE PWR ACC;BUNDLE END PROTECTION | ZM0312 | SET | NORMAL | 358 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 68265 | 24438870 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120017 | CABLE PWR ACC;CABLE SHOE CU 50mm2 | ZM0312 | BH | NORMAL | 264 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 37040 | 9778481 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120033 | CABLE PWR ACC;DEAD END ASSY ADJ 70mm | ZM0312 | SET | NORMAL | 577 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 123238 | 71108197 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120038 | CABLE PWR ACC;DEAD END ASSY FIXED 70mm | ZM0312 | SET | NORMAL | 358 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 102120 | 36558960 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120058 | CABLE PWR ACC;LARGE ANGLE ASSY 70mm | ZM0312 | SET | NORMAL | 260 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 119880 | 31168798 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120077 | CABLE PWR ACC;STAINLEES STEEL STRIP SSS | ZM0312 | M | NORMAL | 1068 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 16158 | 17256691 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120092 | CABLE PWR ACC;SUSPENSION ASSY 70mm | ZM0312 | SET | NORMAL | 486 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 77700 | 37762192 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120121 | CABLE PWR ACC;CABLE SHOE CU 240mm2 | ZM0312 | BH | NORMAL | 100 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 114275 | 11427531 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120142 | CABLE PWR ACC;WEDGE CLAMP 2x(6-16)mm | ZM0312 | BH | NORMAL | 24667 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 4122 | 101677841 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120156 | CABLE PWR ACC;CABLE SHOE AL-CU 1H 70mm2 | ZM0312 | BH | NORMAL | 458 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 64007 | 29315226 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120178 | CABLE PWR ACC;CABLE SHOE AL ID 1H 35mm2 | ZM0312 | BH | NORMAL | 150 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 14615 | 2192306 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120180 | CABLE PWR ACC;CABLE SHOE AL ID 1H 70mm2 | ZM0312 | BH | NORMAL | 1300 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 23369 | 30379481 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120183 | CABLE PWR ACC;CABLE SHOE AL ID 1H 150mm2 | ZM0312 | BH | NORMAL | 873 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 49058 | 42827251 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120227 | CABLE PWR ACC;CABLE SHOE CU ID 1H 50mm2 | ZM0312 | BH | NORMAL | 727 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 51638 | 37540740 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120228 | CABLE PWR ACC;CABLE SHOE CU ID 1H 70mm2 | ZM0312 | BH | NORMAL | 1978 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 65735 | 130023396 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120229 | CABLE PWR ACC;CABLE SHOE CU ID 1H 95mm2 | ZM0312 | BH | NORMAL | 1030 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 75694 | 77965055 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120231 | CABLE PWR ACC;CABLE SHOE CU ID 1H 150mm2 | ZM0312 | BH | NORMAL | 374 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 119130 | 44554488 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120233 | CABLE PWR ACC;CABLE SHOE CU ID 1H 240mm2 | ZM0312 | BH | NORMAL | 100 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 145050 | 14505037 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003120330 | CABLE PWR ACC;STRAIN HOOK EKOR BABI 1.5" | ZM0312 | BH | NORMAL | 15429 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 8878 | 136977112 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003190002 | CUT OUT;20kV;6-100A;10kA;125kV | ZM0319 | BH | NORMAL | 84 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 1293783 | 108677749 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003200010 | CUT OUT ACC;FUSE LINK 20kV 3A | ZM0320 | BH | NORMAL | 2 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 36630 | 73260 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250023 | MCB;380/440V;3P;160A;50Hz;MCCB | ZM0325 | BH | NORMAL | 6 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1649084 | 9894502 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250026 | MCB;380/440V;3P;300A;50Hz;MCCB | ZM0325 | BH | NORMAL | 3 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 3550949 | 10652848 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250030 | MCB;380/440V;3P;50A;50Hz;MCCB | ZM0325 | BH | NORMAL | 7 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 944901 | 6614308 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250032 | MCB;380/440V;3P;63A;50Hz;MCCB | ZM0325 | BH | NORMAL | 55 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1009265 | 55509555 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250045 | MCB;230/400V;1P;1.2A;50Hz; | ZM0325 | BH | BURSA | 53 | 0 | 0 | 0 | 1020 | HAR-Material Bursa | 9696 | 513888 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250046 | MCB;230/400V;1P;2A;50Hz; | ZM0325 | BH | NORMAL | 3146 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 41805 | 131517341 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250048 | MCB;230/400V;1P;4A;50Hz; | ZM0325 | BH | NORMAL | 2501 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 41812 | 104571710 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250056 | MCB;230/400V;1P;20A;50Hz; | ZM0325 | BH | NORMAL | 109 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 39756 | 4333380 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250058 | MCB;230/400V;1P;25A;50Hz; | ZM0325 | BH | NORMAL | 18 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 41736 | 751247 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250063 | MCB;380/440V;3P;100A;50HZ;MCCB | ZM0325 | BH | NORMAL | 14 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1011728 | 14164187 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250065 | MCB;380/440V;3P;250A;50HZ;MCCB | ZM0325 | BH | NORMAL | 14 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1973714 | 27631993 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250074 | MCB;230/400V;3P;125A;50Hz;MCCB | ZM0325 | BH | NORMAL | 16 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1629785 | 26076563 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250076 | MCB;230/400V;3P;200A;50Hz;MCCB | ZM0325 | BH | NORMAL | 5 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 1740258 | 8701290 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250097 | MCB;230/400V;3P;10A;50Hz; | ZM0325 | BH | NORMAL | 92 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 187238 | 17225878 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250099 | MCB;230/400V;3P;16A;50Hz; | ZM0325 | BH | NORMAL | 77 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 190216 | 14646643 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250100 | MCB;230/400V;3P;20A;50Hz; | ZM0325 | BH | NORMAL | 15 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 189365 | 2840470 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250102 | MCB;230/400V;3P;25A;50Hz; | ZM0325 | BH | NORMAL | 110 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 190017 | 20901819 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003250103 | MCB;230/400V;3P;35A;50Hz; | ZM0325 | BH | NORMAL | 10 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 190306 | 1903058 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003260161 | LVSB;DIST;3P;400V;250A;2LINE;OD | ZM0326 | SET | NORMAL | 13 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 15993090 | 207910175 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003260226 | LVSB;DIST;3P;400V;630A;4LINE;OD | ZM0326 | SET | NORMAL | 9 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 32530533 | 292774798 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280035 | CONN;;PG;CU;50/95mm2; | ZM0328 | BH | NORMAL | 94 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 34615 | 3253843 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280069 | CONN;1kV;;AL;50-70/50-70mm2;PRS HS;WP | ZM0328 | BH | NORMAL | 2609 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 29490 | 76940408 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280146 | CONN;20kV;CIRCLE;AL;150/240mm2;PRS; | ZM0328 | BH | NORMAL | 58 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 33462 | 1940782 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280282 | CONN;1kV;CCO;AL;120-150/50-70mm2;PRS; | ZM0328 | BH | NORMAL | 206 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 30658 | 6315582 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280299 | CONN;1kV;CCOA;AL;150mm2;PRS; | ZM0328 | BH | NORMAL | 500 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 37501 | 18750676 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280456 | CONN;1KV;CCO;AL;35-50/10-16;INSUL;PITA | ZM0328 | BH | NORMAL | 4964 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 16361 | 81216034 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280460 | CONN;1KV;CCO;AL;70-95/10-16;INSUL;PITA | ZM0328 | BH | NORMAL | 5216 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 33164 | 172985508 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000003280463 | CONN;1KV;CCO;AL;35-50/25-35;INSUL;PITA | ZM0328 | BH | NORMAL | 906 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 19897 | 18026649 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120016 | BOX;kWH E;ST PLATE 2mm;600X400X300mm | ZM0412 | BH | NORMAL | 1 | 0 | 0 | 0 | 1005 | HAR-Persediaan Umum | 4992225 | 4992225 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120027 | BOX;APPI;ST PLATE 2mm; | ZM0412 | BH | BURSA | 2401 | 0 | 0 | 0 | 1005 | HAR-Persediaan Umum | 23545 | 56531855 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120049 | BOX;APPIII;ST PLATE 2mm; | ZM0412 | BH | NORMAL | 10 | 0 | 0 | 0 | 1005 | HAR-Persediaan Umum | 690271 | 6902705 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120101 | BOX;MER TRIP MODEM MCCB CT TR 41,5KVA EN | ZM0412 | SET | NORMAL | 2 | 0 | 0 | 0 | 1005 | HAR-Persediaan Umum | 4304984 | 8609968 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120108 | BOX;MER TRIP MODEM MCCB CT TR 164KVA | ZM0412 | SET | NORMAL | 1 | 0 | 0 | 0 | 1005 | HAR-Persediaan Umum | 18070657 | 18070657 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120467 | BOX;APPMCCB80A+STRIP;AL2MM;1205X420X250 | ZM0412 | SET | NORMAL | 7 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 16696316 | 116874212 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120468 | BOX;APPMCCB100A+STRIP;AL2MM;1205X420X250 | ZM0412 | SET | NORMAL | 5 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 17103575 | 85517874 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120469 | BOX;APPMCCB125A+STRIP;AL2MM;1205X420X250 | ZM0412 | SET | NORMAL | 5 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 17415152 | 87075759 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120470 | BOX;APPMCCB160A+STRIP;AL2MM;1205X420X250 | ZM0412 | SET | NORMAL | 3 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 17657909 | 52973727 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120471 | BOX;APPMCCB200A+STRIP;AL2MM;1205X420X250 | ZM0412 | SET | NORMAL | 5 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 18278799 | 91393994 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120472 | BOX;APPMCCB225A+STRIP;AL2MM;1205X420X250 | ZM0412 | SET | NORMAL | 1 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 18097719 | 18097719 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120474 | BOX;APPMCCB300A+STRIP;AL2MM;1205X420X250 | ZM0412 | SET | NORMAL | 8 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 20356430 | 162851438 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004120538 | BOX;APP PL CB;AL1.6MM;650X400X220MM | ZM0412 | SET | NORMAL | 8 | 0 | 0 | 0 | 1003 | HAR-Alat Ukur | 4403665 | 35229323 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004190264 | UNIV ACC;GROUND ROD CU 5/8"X2750mm | ZM0419 | BTG | NORMAL | 639 | 0 | 0 | 0 | 1005 | HAR-Persediaan Umum | 204599 | 130739023 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004190268 | UNIV ACC;PIPE GALV 0.75"X3m FOR GROUND | ZM0419 | BTG | NORMAL | 218 | 0 | 0 | 0 | 1005 | HAR-Persediaan Umum | 124855 | 27218299 | IDR
5300 | UID Jawa Barat | 5311 | PLN UP3 Cirebon | 2000 | APJ Cirebon | ZST1 | PLN Stock Materials | 000000004190646 | UNIV ACC;COVER BUSHING TRAFO | ZM0419 | BH | NORMAL | 226 | 0 | 0 | 0 | 1001 | HAR-Switchgear&Jaringan | 109124 | 24661911 | IDR